HACKINSIGHT 2026 SUBMISSION SUMMARY

Lahore Smart Energy Demand Predictor

Project Track: Energy Demand Forecasting & Grid Resilience

Target Region: Lahore Electrical Supply Company (LESCO Grid), Pakistan

Repository: https://github.com/zeesha-zaki/energy-dashboard

Live Application: https://energy-dashboard-4.streamlit.app/

1. Executive Summary & Local Context

Rapid urban expansion and severe summer heatwaves in Lahore create extreme peak-load demands, frequently overwhelming distribution infrastructure and causing unscheduled load-shedding. This project delivers an automated, audit-ready energy demand forecasting system specifically engineered for the Pakistani grid context.

2. Data Pipeline Architecture & Auditability

- 3-Tier Data Layering: Segregates data pipeline processing into immutable data/raw/, sanitized data/cleaned/, and feature-engineered data/processed/ layers.

- Data Lineage & Manifest: Every raw data ingest automatically computes a cryptographic SHA-256 checksum, appended to manifest.csv alongside licensing metadata (CC-BY 4.0).

- Automated Data Quality Agent: A custom quality agent automatically deduplicates temporal timestamps, fills missing weather values via linear interpolation, and flags peak temperature load spikes (>3 std dev) into quality_log.json.

- Workflow Orchestration: Prefect-driven execution logs are tracked in prefect_runs.csv for end-to-end pipeline reproducibility.

3. Machine Learning Architecture & Evaluation

- Model Selection: Feature-engineered Random Forest Regressor incorporating 24-hour and 168-hour demand lags, rolling 24-hour demand averages, and temperature/humidity heat index terms.

- Evaluation Metrics:

  - Mean Absolute Error (MAE): ~2.45 MW

  - Root Mean Square Error (RMSE): ~3.12 MW

  - Coefficient of Determination ($R^2$ Score): > 0.94

4. Deployment & Business Impact

- Grid Resilience: Facilitates proactive generation scheduling for LESCO feeder lines, mitigating unmanaged transformer outages during heatwaves.

- Headless Infrastructure Design: Features a fallback architecture that compiles data layers without external dependency lock-in, ensuring 100% uptime on resource-constrained cloud environments (Streamlit Cloud / Hugging Face CPU basic).